HEXTEBACKEST (Aug06)          ftools.futils         HEXTEBACKEST (Aug06)

NAME

hextebackest -- Estimate background for HEXTE Cluster A.

USAGE

hextebackest infile outfile [parmfile=filename] [mkarcfil=yes]

DESCRIPTION

On July 13th, 2006, HEXTE Cluster A was moved to on-source permanently.  This was necessitated by numerous stoppages and the concern that it may fail permanently in an off-source position.  The HEXTE team developed a method for accurately estimating the Cluster A background using the Cluster B background and a measured correlation between Cluster A and B counts on a PHA channel-by-channel basis.  This correlation was determined using A09 data when both clusters were rocking.  This task estimates the background for HEXTE Cluster A PHA files created from data taken from Cluster B and a parameter file that contains two correlation coefficients for each PHA channel.  The Cluster B input background has to have the full 256-channel energy resolution (HEXTE science event mode data).  Both 256-channel and 64-channel (archive mode) output background files for Cluster A can be created.

PARAMETERS

infile [file name]

The name of the HEXTE Cluster B PHA background FITS file from which the Cluster A background estimate will be generated.

outfile [file name]

The name of the output HEXTE Cluster A background PHA FITS file.  The use of 'STDOUT’ for outfile is not allowed.  If the first character of outfile is a ‘!’, then an existing file of the same name will be overwritten.  Outfile has the same 256-channel energy resolution as infile.

(parmfile = corr_ab.fits) [file name]

The default for this file is in the CALDB.  This FITS file contains a list of linear correlation parameters, two for each PHA channel.  These correlation parameters have been derived from comparing Cluster A and Cluster B data taken during A09.

(mkarcfil = no) [boolean]

The default for this parameter is 'no'.  If this parameter is set to 'yes' then a second output file is created.  The file name is the concatenation of the character string 'arc_' and outfile.  The result is the estimated Cluster A background PHA file for use with HEXTE archive histogram data (64 energy channels, the HEXTE equivalent of PCA Standard II data).

EXAMPLES

1. Create a Cluster A background PHA file:

ft> hextebackest input.pha output.pha

2. Create a Cluster A background PHA file and an archive format version of the corrected file:

ft> hextebackest input.pha output.pha mkarcfil=yes

3. Create a Cluster A background PHA file and an archive format version of the corrected file using a non-default parameter file:

ft> hextebackest in.pha out.pha parmfile=pf.fits mkarcfil=yes

NOTES:

HEXTEBACKEST does not allow the use of ‘STDOUT’.

BUGS

SEE ALSO